## items
Project Number: QIP25105192 | [8 empty] | Downloaded datetime: 02/12/2025 02:45:06 PM
No. | រាយមុខទំនិញ | ឯកតា | បរិមាណ | តម្លៃឯកតា | តម្លៃសរុប | ក្នុងស្រុក | នាំចូល | ប្រភេទ | បរិយាយ
| Product | Unit | Quantity | Price (USD) | Total Price (USD) | Domestic (%) | Import (%) | Category | Remarks
|  | II- Machinery and Equipment |  |  |  | - | - | - | -
I- Construction Material
Grand Total
| Transformer | set | 10 | 41667 |  |  | 100 | II- Machinery and Equipment
| Electric Cable | m | 1000 | 29.17 |  |  | 100 | II- Machinery and Equipment
| Electric Wire | m | 14000 | 5 |  |  | 100 | II- Machinery and Equipment
| Air Switch | set | 100 | 10 |  |  | 100 | II- Machinery and Equipment
| Socket Panel | set | 200 | 1.39 |  |  | 100 | II- Machinery and Equipment
| Junction Box | set | 1000 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Mining Lamp | set | 100 | 4.86 |  |  | 100 | II- Machinery and Equipment
| Led Light | set | 200 | 8.33 |  |  | 100 | II- Machinery and Equipment
| Street Lights | set | 30 | 9.72 |  |  | 100 | II- Machinery and Equipment
| Spotlight | set | 100 | 10.42 |  |  | 100 | II- Machinery and Equipment
| Electric Retractable Door | set | 1 | 694.44 |  |  | 100 | II- Machinery and Equipment
| Door | set | 30 | 20.83 |  |  | 100 | II- Machinery and Equipment
| Cable Tray | m | 2000 | 2.78 |  |  | 100 | II- Machinery and Equipment
| Warning Signs | set | 100 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Fire Hydrant | set | 200 | 25 |  |  | 100 | II- Machinery and Equipment
| Fire Hose Nozzle | set | 100 | 2.22 |  |  | 100 | II- Machinery and Equipment
| Fire Hose | line | 300 | 21.67 |  |  | 100 | II- Machinery and Equipment
| Fire Extinguisher | set | 100 | 8.33 |  |  | 100 | II- Machinery and Equipment
| Fire Emergency Light | set | 100 | 1.25 |  |  | 100 | II- Machinery and Equipment
| Aluminum Alloy Door | set | 50 | 55.56 |  |  | 100 | II- Machinery and Equipment
| Window | set | 50 | 62.5 |  |  | 100 | II- Machinery and Equipment
| Power Distribution Box | set | 5 | 7120 |  |  | 100 | II- Machinery and Equipment
| Integrated Power Distribution Box | set | 100 | 10.42 |  |  | 100 | II- Machinery and Equipment
| Electrical Installation Guide Rail | m | 2000 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Plastic Drain Pipe | set | 5000 | 0.07 |  |  | 100 | II- Machinery and Equipment
| Urinal | set | 50 | 12.78 |  |  | 100 | II- Machinery and Equipment
| Toilet | set | 10 | 83.33 |  |  | 100 | II- Machinery and Equipment
| Wash Basin | set | 20 | 18.06 |  |  | 100 | II- Machinery and Equipment
| Faucet | set | 300 | 6.25 |  |  | 100 | II- Machinery and Equipment
| Shower Room | set | 10 | 152.78 |  |  | 100 | II- Machinery and Equipment
| Floor Drain | set | 50 | 2.78 |  |  | 100 | II- Machinery and Equipment
| Electric Water Heater | set | 30 | 63.89 |  |  | 100 | II- Machinery and Equipment
| Ventilation Skylight | set | 10 | 11.11 |  |  | 100 | II- Machinery and Equipment
| Industrial Fan | set | 60 | 50 |  |  | 100 | II- Machinery and Equipment
| Air Conditioner | set | 30 | 250 |  |  | 100 | II- Machinery and Equipment
| Vertical Rubber Cutter | set | 5 | 1152.78 |  |  | 100 | II- Machinery and Equipment
| Kneader | set | 3 | 34722.22 |  |  | 100 | II- Machinery and Equipment
| Banbury Mixer | set | 3 | 625 |  |  | 100 | II- Machinery and Equipment
| Open-Type Rubber Mixing Mill | set | 3 | 38888.89 |  |  | 100 | II- Machinery and Equipment
| Rubber Extruder | set | 6 | 58333.33 |  |  | 100 | II- Machinery and Equipment
| Foam Flue | set | 3 | 104166.67 |  |  | 100 | II- Machinery and Equipment
| CNC Cutting Machine | set | 3 | 27777.78 |  |  | 100 | II- Machinery and Equipment
| Vibrating Blade Cutting Machine | set | 5 | 9722.22 |  |  | 100 | II- Machinery and Equipment
| Vertical Belt Saw | set | 5 | 694.44 |  |  | 100 | II- Machinery and Equipment
| Special Rubber Cutting Machine | set | 5 | 11111.11 |  |  | 100 | II- Machinery and Equipment
| Vane Vacuum Pump | set | 5 | 108.33 |  |  | 100 | II- Machinery and Equipment
| Automatic Feeder | set | 5 | 1111.11 |  |  | 100 | II- Machinery and Equipment
| Rubber Sheet Cooling Line | set | 5 | 1388.89 |  |  | 100 | II- Machinery and Equipment
| Production Line Cooling Rack | set | 3 | 5555.56 |  |  | 100 | II- Machinery and Equipment
| Hydraulic Shear Machine | set | 3 | 2916.67 |  |  | 100 | II- Machinery and Equipment
| General Hydraulic Press | set | 3 | 5555.56 |  |  | 100 | II- Machinery and Equipment
| Variable-Frequency Air Compressor | set | 5 | 1805.56 |  |  | 100 | II- Machinery and Equipment
| Refrigerated Dryer | set | 5 | 416.67 |  |  | 100 | II- Machinery and Equipment
| Circular Cooling Tower | set | 5 | 180.56 |  |  | 100 | II- Machinery and Equipment
| Horizontal Pump | set | 40 | 41.39 |  |  | 100 | II- Machinery and Equipment
| Vertical Pump | set | 40 | 55.56 |  |  | 100 | II- Machinery and Equipment
| Pipeline Pump | set | 40 | 104.17 |  |  | 100 | II- Machinery and Equipment
| Submersible Pump | set | 40 | 48.61 |  |  | 100 | II- Machinery and Equipment
| Self-Priming Pump | set | 50 | 44.44 |  |  | 100 | II- Machinery and Equipment
| Air-Cooled Chiller | set | 5 | 500 |  |  | 100 | II- Machinery and Equipment
| Water-Cooled Chiller | set | 5 | 555.56 |  |  | 100 | II- Machinery and Equipment
| Electrostatic Adsorption Tower | set | 5 | 20833.33 |  |  | 100 | II- Machinery and Equipment
| Cooling Water Tank | set | 5 | 13888.89 |  |  | 100 | II- Machinery and Equipment
| Stainless Steel Flue | m | 300 | 34.72 |  |  | 100 | II- Machinery and Equipment
| Stainless Steel Fan | set | 3 | 2361.11 |  |  | 100 | II- Machinery and Equipment
| Industrial Dust Collector | set | 10 | 347.22 |  |  | 100 | II- Machinery and Equipment
| Rubber Mold Temperature Controller | set | 5 | 500 |  |  | 100 | II- Machinery and Equipment
| Rubber Strip Cooling Rack | set | 200 | 20.83 |  |  | 100 | II- Machinery and Equipment
| Rubber Hydraulic Press | set | 5 | 1666.67 |  |  | 100 | II- Machinery and Equipment
| Generator | set | 1 | 41000 |  |  | 100 | II- Machinery and Equipment
| Medium-Sized Air Tank | set | 10 | 77.78 |  |  | 100 | II- Machinery and Equipment
| Internal Combustion Forklift | set | 2 | 6944.44 |  |  | 100 | II- Machinery and Equipment
| Hydraulic Forklift | set | 20 | 120 |  |  | 100 | II- Machinery and Equipment
| Electric Sand Belt Machine | set | 5 | 104.17 |  |  | 100 | II- Machinery and Equipment
| Pneumatic Screen Printer | set | 5 | 972.22 |  |  | 100 | II- Machinery and Equipment
| Silk Screen Drying Tunnel | line | 3 | 3333.33 |  |  | 100 | II- Machinery and Equipment
| Cooling Conveyor | line | 3 | 972.22 |  |  | 100 | II- Machinery and Equipment
| Vertical Sealing Machine | set | 10 | 20.83 |  |  | 100 | II- Machinery and Equipment
| Heat Shrink Packaging Machine | set | 5 | 69.44 |  |  | 100 | II- Machinery and Equipment
| Handcart | set | 20 | 41.67 |  |  | 100 | II- Machinery and Equipment
| Tape Carton Sealing Machine | set | 50 | 48.61 |  |  | 100 | II- Machinery and Equipment
| Plastic Strap Packing Machine | set | 10 | 111.11 |  |  | 100 | II- Machinery and Equipment
| Carton Strapper | set | 300 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Blade-Type Pulverizer | set | 2 | 1388.89 |  |  | 100 | II- Machinery and Equipment
| Densifier | set | 3 | 69.44 |  |  | 100 | II- Machinery and Equipment
| Hardness Tester | set | 3 | 69.44 |  |  | 100 | II- Machinery and Equipment
| Thickness Gauge | set | 3 | 83.33 |  |  | 100 | II- Machinery and Equipment
| Oven | set | 10 | 138.89 |  |  | 100 | II- Machinery and Equipment
| Stainless Steel Drum 20L | set | 300 | 2.78 |  |  | 100 | II- Machinery and Equipment
| Stainless Steel Oil Tray 50*70cm | set | 20 | 11.11 |  |  | 100 | II- Machinery and Equipment
| Electronic Scale FWN-B20S | set | 50 | 41.67 |  |  | 100 | II- Machinery and Equipment
| Platform Scale JIK-150Kg | set | 5 | 166.67 |  |  | 100 | II- Machinery and Equipment
| Card Caliper | set | 100 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Roll Caliper | set | 300 | 0.42 |  |  | 100 | II- Machinery and Equipment
| Triangle Ruler | set | 20 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Straight Ruler | set | 20 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Aluminum Strip | set | 500 | 5.56 |  |  | 100 | II- Machinery and Equipment
| Mold | set | 2000 | 4.17 |  |  | 100 | II- Machinery and Equipment
| Rack | set | 300 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Machete | set | 300 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Scraper | set | 50 | 0.42 |  |  | 100 | II- Machinery and Equipment
| Hex Key (Allen Wrench) | set | 100 | 0.49 |  |  | 100 | II- Machinery and Equipment
| Open-End Wrench | set | 100 | 1.67 |  |  | 100 | II- Machinery and Equipment
| Box-End Wrench | set | 100 | 2.08 |  |  | 100 | II- Machinery and Equipment
| Hollow-Shank Screwdriver | set | 100 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Electrical Tape | roll | 1000 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Self-Adhesive Tape | roll | 500 | 0.83 |  |  | 100 | II- Machinery and Equipment
| PTFE Tape (Thread Seal Tape) | roll | 300 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Sandpaper | set | 500 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Flashlight | set | 20 | 6.94 |  |  | 100 | II- Machinery and Equipment
| Heat Gun | set | 10 | 20.83 |  |  | 100 | II- Machinery and Equipment
| Analog Multim | set | 10 | 25 |  |  | 100 | II- Machinery and Equipment
| Clamp M | set | 10 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Welding Machine | set | 10 | 27.78 |  |  | 100 | II- Machinery and Equipment
| Welding Rod | bottle/pack | 500 | 4.17 |  |  | 100 | II- Machinery and Equipment
| Welding Mask | set | 30 | 0.97 |  |  | 100 | II- Machinery and Equipment
| Safety Goggles | set | 100 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Angle Grinder | set | 50 | 20.83 |  |  | 100 | II- Machinery and Equipment
| Power Drill | set | 30 | 27.78 |  |  | 100 | II- Machinery and Equipment
| Drill Bit | set | 500 | 0.14 |  |  | 100 | II- Machinery and Equipment
| Rotary Hammer | set | 30 | 41.67 |  |  | 100 | II- Machinery and Equipment
| Demolition Hammer | set | 30 | 69.44 |  |  | 100 | II- Machinery and Equipment
| Adjustable Wrench (10-Inch) | set | 30 | 2.5 |  |  | 100 | II- Machinery and Equipment
| Adjustable Wrench (12-Inch) | set | 30 | 2.78 |  |  | 100 | II- Machinery and Equipment
| Pipe Wrench | set | 30 | 3.47 |  |  | 100 | II- Machinery and Equipment
| Phillips Screwdriver | set | 100 | 0.42 |  |  | 100 | II- Machinery and Equipment
| Flathead Screwdriver | set | 100 | 0.42 |  |  | 100 | II- Machinery and Equipment
| Voltage Tester | set | 100 | 0.69 |  |  | 100 | II- Machinery and Equipment
| Pliers | set | 100 | 2.08 |  |  | 100 | II- Machinery and Equipment
| Needle-Nose Pliers | set | 100 | 2.08 |  |  | 100 | II- Machinery and Equipment
| Hammer | set | 100 | 2.08 |  |  | 100 | II- Machinery and Equipment
| Soldering Iron | set | 50 | 1.11 |  |  | 100 | II- Machinery and Equipment
| PPR Pipe Fusion Machine | set | 10 | 6.94 |  |  | 100 | II- Machinery and Equipment
| PPR Pipe Cutter | set | 20 | 1.39 |  |  | 100 | II- Machinery and Equipment
| Hydraulic Crimping Tool (for Cable Lugs) | set | 5 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Bolt Cutter | set | 10 | 2.08 |  |  | 100 | II- Machinery and Equipment
| Jack | set | 10 | 4.17 |  |  | 100 | II- Machinery and Equipment
| Screws and Nuts | set | 5000 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Sealing Gaskets and Washers | set | 1000 | 0.14 |  |  | 100 | II- Machinery and Equipment
| Mold Rack | set | 3 | 27.78 |  |  | 100 | II- Machinery and Equipment
| Tray | set | 1000 | 11.11 |  |  | 100 | II- Machinery and Equipment
| Die Cutter | set | 500 | 41.67 |  |  | 100 | II- Machinery and Equipment
| Fabric Scissors | set | 100 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Ink | kg | 2000 | 4.86 |  |  | 100 | II- Machinery and Equipment
| Thinner | kg | 4000 | 4.2 |  |  | 100 | II- Machinery and Equipment
| Plastic Scraper | m | 500 | 9.72 |  |  | 100 | II- Machinery and Equipment
| Squeegee | m | 500 | 4.17 |  |  | 100 | II- Machinery and Equipment
| Time Clock | set | 10 | 36.11 |  |  | 100 | II- Machinery and Equipment
| Silk Screen | set | 2000 | 5.56 |  |  | 100 | II- Machinery and Equipment
| Solar Tube | set | 1000 | 6.94 |  |  | 100 | II- Machinery and Equipment
| Embossing Roller | set | 30 | 416.67 |  |  | 100 | II- Machinery and Equipment
| Frequency Converter | set | 100 | 138.89 |  |  | 100 | II- Machinery and Equipment
| Plastic Bag | kg | 20000 | 0.125 |  |  | 100 | II- Machinery and Equipment
| Plastic Drum Material | kg | 40000 | 1.25 |  |  | 100 | II- Machinery and Equipment
| Shrink Wrap | kg | 40000 | 1.3 |  |  | 100 | II- Machinery and Equipment
| Shrink Bag | kg | 40000 | 1.3 |  |  | 100 | II- Machinery and Equipment
| Adhesive Tape | roll | 200000 | 0.56 |  |  | 100 | II- Machinery and Equipment
| Plastic Rope | kg | 5000 | 1 |  |  | 100 | II- Machinery and Equipment
| Storage Bin | set | 3000 | 11.11 |  |  | 100 | II- Machinery and Equipment
| Stretch Film | kg | 5000 | 1 |  |  | 100 | II- Machinery and Equipment
| Mold Release Agent | set | 500 | 1.11 |  |  | 100 | II- Machinery and Equipment
| Lubricating Oil | kg | 5000 | 1 |  |  | 100 | II- Machinery and Equipment
| Hydraulic Oil | kg | 5000 | 1.8 |  |  | 100 | II- Machinery and Equipment
| Gear Oil | kg | 5000 | 2 |  |  | 100 | II- Machinery and Equipment
| Air Hose | m | 20000 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Air Hose Connector | set | 5000 | 0.28 |  |  | 100 | II- Machinery and Equipment
| Marker Pen | set | 5000 | 0.14 |  |  | 100 | II- Machinery and Equipment
| Table | set | 100 | 100 |  |  | 100 | II- Machinery and Equipment
| Office Chair | set | 100 | 15 |  |  | 100 | II- Machinery and Equipment
| Workbench | line | 10 | 1500 |  |  | 100 | II- Machinery and Equipment
| Dryer | set | 10 | 700 |  |  | 100 | II- Machinery and Equipment
| Plastic Basket | set | 500 | 2 |  |  | 100 | II- Machinery and Equipment
| Injection Mold | set | 200 | 500 |  |  | 100 | II- Machinery and Equipment
| Injection Molding Machine | set | 15 | 30000 |  |  | 100 | II- Machinery and Equipment
| Conveyor Line | line | 2 | 40000 |  |  | 100 | II- Machinery and Equipment
| Power Strip | set | 200 | 2.78 |  |  | 100 | II- Machinery and Equipment
| Filing Cabinet | set | 200 | 13.89 |  |  | 100 | II- Machinery and Equipment
| Safety Supplies | set | 1000 | 1.39 |  |  | 100 | II- Machinery and Equipment
| Surveillance Camera | set | 500 | 25 |  |  | 100 | II- Machinery and Equipment
| Aluminum Profile | tons | 4 | 3800 |  |  | 100 | II- Machinery and Equipment
| Aluminum Panel | set | 6000 | 60 |  |  | 100 | II- Machinery and Equipment
| Aluminum Composite Panel | set | 4200 | 30 |  |  | 100 | II- Machinery and Equipment
| Decorative Panel | set | 1000 | 10 |  |  | 100 | II- Machinery and Equipment
| Sheet Cutting Machine | set | 25 | 7000 |  |  | 100 | II- Machinery and Equipment
| Rewinding Machine | set | 25 | 15000 |  |  | 100 | II- Machinery and Equipment
| Heating Plastic Welding Machine | set | 25 | 9000 |  |  | 100 | II- Machinery and Equipment
| Cutting Machine | set | 20 | 15000 |  |  | 100 | II- Machinery and Equipment